## Sheet1
Figure | Panel | Instrument | Sample | Clearing method | Immersion | Excitation (nm) | Laser power (mW)* | Filter | Scanner | tdwell (us) | Averaging | Pixel size (X×Y×Z) | X × Y × Z | Imaging time (hh:mm:ss)** | File size (GB)*** | Comment
2 | d & e | Schmidt | 0.2 µm Fluoresbrite Beads | None | Air | 800 | 10 | 525/39 | Galvo-Galvo | 3 | 8× | 0.07 × 0.07 × 0.3 µm3 | 512×512×55 | 0:09 | 0.026
2 | d & e | Schmidt | 0.2 µm Fluoresbrite Beads | None | Water | 800 | 10 | 525/39 | Galvo-Galvo | 3 | 8× | 0.054 × 0.054 × 0.3 µm3 | 512×512×55 | 0:09 | 0.026
2 | d & e | Schmidt | 0.2 µm Fluoresbrite Beads | None | n=1.45 oil | 800 | 10 | 525/39 | Galvo-Galvo | 3 | 8× | 0.048 × 0.048 × 0.3 µm3 | 512×512×55 | 0:09 | 0.026
2 | d & e | Schmidt | 0.2 µm Fluoresbrite Beads | None | n=1.51 oil | 800 | 10 | 525/39 | Galvo-Galvo | 3 | 8× | 0.046 × 0.046 × 0.3 µm3 | 512×512×55 | 0:09 | 0.026
3 | a | mesoSPIM | Pollen granule | None | Air | 488 | 6 | 520/35 | Lightsheet | 20000 | 1× | 1.625 × 1.6250 × 2 µm3 | 2048×2048×1150 | 0:04 | 8.98
3 | a | Schmidt | Pollen granule | None | Air | 800 | 12 | 625/90 | Galvo-Resonant | 0.044 | 16× | 1.05 × 1.05 × 3 µm3 | 2048×2048×611 | 1:05 | 4.77
3 | a | Schmidt | Pollen granule | None | Air | 800 | 12 | 625/90 | Galvo-Resonant | 0.044 | 16× | 0.2 × 0.2 × 1 µm3 | 2048×2048×331 | 0:35 | 2.6
3 | a | Schmidt | Pollen granule | None | Air | 800 | 12 | 625/90 | Galvo-Resonant | 0.044 | 16× | 0.071 × 0.071 × 0.6 µm3 | 2048×2048×321 | 0:34 | 2.5
3 | b | Schmidt | elavl3:GCaMP6s 5d Zebrafish | None | Water | 920 | 70 | 525/39 | Galvo-Resonant | 0.044 | 32× | 0.37 × 0.37 × 3 µm3 | 2048×1300×95 | 0:11 | 0.482
3 | b | Schmidt | elavl3:GCaMP6s 5d Zebrafish | None | Water | 920 | 70 | 525/39 | Galvo-Resonant | 0.044 | 1× | 0.3 × 0.3 | 1200×1500×2847 (t) | 0:04 | 4.78 | 15.48 Hz Framerate
3 | c | mesoSPIM | Xenopus tadpole (Atp1a1-A594 & DAPI) | BABB | BABB | 800 | 5 | 594LP & QB | Lightsheet | 20000 | 1× | 2.14 × 2.14 × 1 µm3 | 2048×2048×1000 | 0:04 | 15.6
3 | c | Schmidt | Xenopus tadpole (Atp1a1-A594 & DAPI) | BABB | BABB | 800 | 20 | 479/40 & 625/90 | Galvo-Resonant | 0.044 | 16× | 0.33 × 0.33 × 1.4 µm3 | 2800×2048×511 | 1:04 | 5.45
3 | c | Schmidt | Xenopus tadpole (Atp1a1-A594 & DAPI) | BABB | BABB | 800 | 20 | 479/40 & 625/90 | Galvo-Resonant | 0.09 | 16× | 0.135 × 0.135 × 0.6 µm3 | 1024×1024×451 | 0:35 | 1.8
3 | c | Schmidt | Xenopus tadpole (Atp1a1-A594 & DAPI) | BABB | BABB | 800 | 20 | 479/40 & 625/90 | Galvo-Resonant | 0.09 | 16× | 0.09 × 0.09 × 0.3 µm3 | 1024×1024×115 | 0:09 | 0.46
3 | d | mesoSPIM | Thy-1-H Mouse brain (A594) | iDISCO | DBE | 594 | 12 | 594LP & QB | Lightsheet | 20000 | 1× | 3.42 × 3.42 × 2 µm3 | 2048×2048×950 | 0:04 | 7.42
3 | d | Schmidt | Thy-1-H Mouse brain (A594) | iDISCO | DBE | 800 | 23 | 625/90 | Galvo-Galvo | 3 | 1× | 0.3 × 0.3 × 2 µm3 | 2048×2048×71 | 0:20 | 0.57
3 | d | Schmidt | Thy-1-H Mouse brain (A594) | iDISCO | DBE | 800 | 23 | 625/90 | Galvo-Galvo | 3 | 1× | 0.045 × 0.045 × 1 µm3 | 2048×2048×37 | 0:11 | 0.3
3 | d | Schmidt | Thy-1-H Mouse brain (A594) | iDISCO | DBE | 800 | 23 | 625/90 | Galvo-Galvo | 3 | 1× | 0.011 × 0.011 × 0.4 µm3 | 2048×2048×31 | 0:09 | 0.25
3 | e | mesoSPIM | Human brain (Acridine Orange) | MASH | ECI | 515 | 9 | 515LP | Lightsheet | 20000 | 1× | 3.42 × 3.42 × 3 µm3 | 2048×2048×1200 | 0:05 | 9.37
3 | e | Schmidt | Human brain (Acridine Orange) | MASH | ECI | 800 | 27 | 525/39 | Galvo-Resonant | 0.044 | 16× | 0.41 × 0.41 × 2 µm3 | 2048×2048×501 | 0:53 | 3.91
3 | e | Schmidt | Human brain (Acridine Orange) | MASH | ECI | 800 | 27 | 525/39 | Galvo-Resonant | 0.044 | 16× | 0.135 × 0.135 × 0.6 µm3 | 2048×2048×88 | 0:09 | 0.7
3 | e | Schmidt | Human brain (Acridine Orange) | MASH | ECI | 800 | 27 | 525/39 | Galvo-Resonant | 0.044 | 16× | 0.046 × 0.046 × 0.6 µm3 | 2048×2048×88 | 0:09 | 0.7
Extended Data Figures
2 | n/a | Schmidt | 0.2 µm Fluoresbrite Beads | None | Air | 800 | 10 | 525/39 | Galvo-Galvo | 3 | 8× | 0.07 × 0.07 × 0.3 µm3 | 512×512×55 | 0:09 | 0.026
2 | n/a | Schmidt | 0.2 µm Fluoresbrite Beads | None | Water | 800 | 10 | 525/39 | Galvo-Galvo | 3 | 8× | 0.054 × 0.054 × 0.3 µm3 | 512×512×55 | 0:09 | 0.026
2 | n/a | Schmidt | 0.2 µm Fluoresbrite Beads | None | n=1.45 oil | 800 | 10 | 525/39 | Galvo-Galvo | 3 | 8× | 0.048 × 0.048 × 0.3 µm3 | 512×512×55 | 0:09 | 0.026
2 | n/a | Schmidt | 0.2 µm Fluoresbrite Beads | None | n=1.51 oil | 800 | 10 | 525/39 | Galvo-Galvo | 3 | 8× | 0.046 × 0.046 × 0.3 µm3 | 512×512×55 | 0:09 | 0.026
3 | b | mesoSPIM | Pollen Granule | None | Air | 488 | 6 | 520/35 | Lightsheet | 20000 | 1× | 1.625 × 1.6250 × 2 µm3 | 2048×2048×1150 | 0:04 | 8.98
3 | c | Schmidt | Pollen Granule | None | Air | 800 | 18 | 625/90 | Galvo-Resonant | 0.044 | 16× | 1.05 × 1.05 × 3 µm3 | 2048×2048×611 | 1:05 | 4.77
3 | d | Schmidt | Pollen Granule | None | Air | 800 | 17 | 625/90 | Galvo-Resonant | 0.044 | 16× | 0.2 × 0.2 × 1 µm3 | 2048×2048×331 | 0:35 | 2.6
3 | e | Schmidt | Pollen Granule | None | Air | 800 | 17 | 625/90 | Galvo-Resonant | 0.044 | 16× | 0.071 × 0.071 × 0.6 µm3 | 2048×2048×321 | 0:34 | 2.5
3 | f | Schmidt | Pollen Granule | ECI | ECI | 800 | 16 | 625/90 | Galvo-Resonant | 0.044 | 16× | 0.675 × 0.675 × 2 µm3 | 2048×2048×600 | 1:03 | 4.68
3 | g | Schmidt | Pollen Granule | ECI | ECI | 800 | 15 | 625/90 | Galvo-Resonant | 0.044 | 16× | 0.137 × 0.137 × 1 µm3 | 2048×2048×337 | 0:36 | 2.63
3 | h | Schmidt | Pollen Granule | ECI | ECI | 800 | 14 | 625/90 | Galvo-Resonant | 0.044 | 16× | 0.046 × 0.046 × 0.6 µm3 | 2048×2048×331 | 0:40 | 2.42
( | a | Schmidt | Xenopus tadpole (SHG) | BABB | BABB | 850 | 75 | 425/26 & 550LP | Galvo-Resonant | 0.09 | 20× | 0.34 × 0.34 × 2 µm3 | 1024×1024×145 | 0:12 | 0.58
4 | b | Schmidt | Xenopus tadpole (SHG) | BABB | BABB | 850 | 75 | 425/26 & 550LP | Galvo-Resonant | 0.09 | 20× | 0.34 × 0.34 × 2 µm3 | 1024×1024×145 | 0:12 | 0.58
4 | c | Schmidt | Xenopus tadpole (SHG) | BABB | BABB | 850 | 75 | 425/26 & 550LP | Galvo-Resonant | 0.09 | 20× | 0.34 × 0.34 × 2 µm3 | 1024×1024×145 | 0:12 | 0.58
5 | a | mesoSPIM | 4-day Chicken embryo (A568-Neurofilament) | BABB | BABB | 488 & 561 | 10 & 15 | 520/35 & 561LP | Lightsheet | 20000 | 1× | 3.44 × 3.44 × 2 µm3 | 2048×2048×1500 | 0:06 | 23.4
5 | b | Schmidt | 4-day Chicken embryo (A568-Neurofilament) | BABB | BABB | 840 | 62 | 525/39 & HQ610/75 | Galvo-Galvo | 3 | 1× | 0.23 × 0.23 × 1 µm3 | 2048×2048×713 | 3:25 | 11.1
5 | c | Schmidt | 4-day Chicken embryo (A568-Neurofilament) | BABB | BABB | 840 | 62 | 525/39 & HQ610/75 | Galvo-Galvo | 3 | 4× | 0.091 × 0.091 × 0.5 µm³ | 1024×1024×125 | 0:14 | 0.5
5 | d | Schmidt | 4-day Chicken embryo (A568-Neurofilament) | BABB | BABB | 840 | 62 | 525/39 & HQ610/75 | Galvo-Galvo | 3 | 1× | 0.23 × 0.23 × 1 µm3 | 2048×2048×217 | 1:02 | 3.39
5 | e | Schmidt | 4-day Chicken embryo (A568-Neurofilament) | BABB | BABB | 840 | 62 | 525/39 & HQ610/75 | Galvo-Galvo | 3 | 4× | 0.091 × 0.091 × 0.5 µm³ | 1024×1024×89 | 0:26 | 0.36
6 | a | mesoSPIM | Mouse brain (TH-A594) | iDISCO | DBE | 594 | 12 | 594LP & QB | Lightsheet | 20000 | 1× | 3.42 × 3.42 × 2 µm3 | 2048×2048×1100 | 0:00 | 8.59
6 | b | Schmidt | Mouse brain (TH-A594) | iDISCO | DBE | 800 | 22 | HQ610/75 | Galvo-Resonant | 0.044 | 16× | 0.574 × 0.5742 × 2 µm3 | 2048×2048×1009 | 1:47 | 7.89
6 | c | Schmidt | Mouse brain (TH-A594) | iDISCO | DBE | 800 | 22 | HQ610/75 | Galvo-Resonant | 0.044 | 16× | 0.137 × 0.137 × 0.6 µm3 | 2048×2048×368 | 0:39 | 2.87
6 | d | Schmidt | Mouse brain (TH-A594) | iDISCO | DBE | 800 | 22 | HQ610/75 | Galvo-Resonant | 0.044 | 16× | 0.046 × 0.046 × 0.6 µm3 | 2048×2048×78 | 0:08 | 0.63
Comments
* Laser powers for the Schmidt objective were measured by placing a Thorlabs S425C power meter sensor at the entrance aperture of the objective. For light-sheet experiments, excitation powers were measured using a Thorlabs S121C sensor placed at the sample location. In both cases, galvo scanning was switched off. To estimate the power on the sample, the transmission estimation in Supplementary Note 1 can be used.
** For the Schmidt objective setup, up to two channels could be aquired simultaneously. As the mesoSPIM can only image a single channel per stack, stated value represents the time per channel
*** The stated values are the file sizes per color channel.